


|  |
| --- |
| **Frameless Led Panel Light** |
| Product Name: Frameless LED Panel Light  Model: HL-PF6060-44W  Specification: Frameless led panel light 595x595x17mm/44w/AC220-240V/4000kelvin/110lm/watts  Dimming: Optional  Areas of application:   Interior application/ Decorative domestic lighting/   Ceiling suspending/suspending and joint together/ embedded mounting( include accessories)  Product advance:  The Frameless structural design makes it special and elegant 5mm thickness diffuser with extremely even light output provides homogenous light distribution. Hight lumen output, high CRI>80 With stable quality Philip driver and led SMD chip  Material: Aluminum housing + PMMA diffuser  Parameters details: |
| Notes:   1. **Testing environment temperature: 25±2℃[77±3.6℉]；** 2. **Above testing include LED chip and driver**   Product dimension: Length 595mmx Wide 595mm x H 17mm |




Statement: Product dimension 600x600mm,595x595mm,620x620mm are available.


Installation 1: embedded with spring to ceiling.







Installation 2: suspending with accessories






Installation 3: suspending and joint together with accessories





Package details:



Application show:



